## Simple
Element | Atomic number |  | First ionization potential | ICP-MS ionization efficiency, %
|  |  |  | From figure to right | From model equation
H | 1 | 1 | 13.598 | 0.1 | 0.72872
He | 2 | 2 | 24.587 | 0 | 8.2846e-07
Li | 3 | 3 | 5.392 | 100 | 99.5092
Be | 4 | 4 | 9.322 | 75 | 60.2154
B | 5 | 5 | 8.298 | 58 | 84.4298
C | 6 | 6 | 11.26 | 5 | 11.913
N | 7 | 7 | 14.534 | 0.1 | 0.22812
O | 8 | 8 | 13.618 | 0.1 | 0.71091
F | 9 | 9 | 17.422 | 0.0009 | 0.006253
Ne | 10 | 10 | 21.564 | 0.0006 | 3.5841e-05
Na | 11 | 11 | 5.139 | 100 | 99.6415
Mg | 12 | 12 | 7.646 | 98 | 92.4358
Al | 13 | 13 | 5.986 | 98 | 98.9766
Si | 14 | 14 | 8.151 | 85 | 86.6892
P | 15 | 15 | 10.486 | 33 | 26.1897
S | 16 | 16 | 10.36 | 14 | 29.3362
Cl | 17 | 17 | 12.967 | 0.9 | 1.586
Ar | 18 | 18 | 15.759 | 0.04 | 0.049653
K | 19 | 19 | 4.341 | 100 | 99.8671
Ca | 20 | 20 | 6.113 | 99 | 98.8032
Sc | 21 | 21 | 6.54 | 100 | 97.9795
Ti | 22 | 22 | 6.82 | 99 | 97.1597
V | 23 | 23 | 6.74 | 99 | 97.4223
Cr | 24 | 24 | 6.766 | 98 | 97.3396
Mn | 25 | 25 | 7.435 | 95 | 94.0813
Fe | 26 | 26 | 7.87 | 96 | 90.2379
Co | 27 | 27 | 7.86 | 93 | 90.3471
Ni | 28 | 28 | 7.635 | 91 | 92.5311
Cu | 29 | 29 | 7.726 | 90 | 91.7086
Zn | 30 | 30 | 9.394 | 75 | 58.0475
Ga | 31 | 31 | 5.999 | 98 | 98.9601
Ge | 32 | 32 | 7.899 | 90 | 89.9148
As | 33 | 33 | 9.81 | 52 | 45.1726
Se | 34 | 34 | 9.752 | 33 | 46.9683
Br | 35 | 35 | 11.814 | 5 | 6.3501
Kr | 36 | 36 | 13.999 | 0.6 | 0.44338
Rb | 37 | 37 | 4.177 | 100 | 99.8916
Sr | 38 | 38 | 5.695 | 96 | 99.2857
Y | 39 | 39 | 6.38 | 98 | 98.3386
Zr | 40 | 40 | 6.84 | 99 | 97.0901
Nb | 41 | 41 | 6.88 | 98 | 96.9459
Mo | 42 | 42 | 7.099 | 98 | 96.0257
Ru | 44 | 44 | 7.37 | 96 | 94.5165
Rh | 45 | 45 | 7.46 | 94 | 93.9054
Pd | 46 | 46 | 8.34 | 93 | 83.7293
Ag | 47 | 47 | 7.576 | 93 | 93.0236
Cd | 48 | 48 | 8.993 | 65 | 69.518
In | 49 | 49 | 5.786 | 99 | 99.2006
Sn | 50 | 50 | 7.344 | 96 | 94.6821
Sb | 51 | 51 | 8.641 | 78 | 77.9562
Te | 52 | 52 | 9.009 | 66 | 69.0939
I | 53 | 53 | 10.451 | 29 | 27.0415
Xe | 54 | 54 | 12.13 | 8.5 | 4.3735
Cs | 55 | 55 | 3.894 | 100 | 99.9238
Ba | 56 | 56 | 5.2117 | 91 | 99.6076
La | 57 | 57 | 5.5769 | 90 | 99.3828
Ce | 58 | 58 | 5.54 | 96 | 99.4104
Pr | 59 | 59 | 5.473 | 90 | 99.4574
Nd | 60 | 60 | 5.53 | 99 | 99.4177
Sm | 62 | 62 | 5.64 | 97 | 99.3327
Eu | 63 | 63 | 5.67 | 100 | 99.3074
Gd | 64 | 64 | 6.15 | 93 | 98.7475
Tb | 65 | 65 | 5.86 | 99 | 99.124
Dy | 66 | 66 | 5.94 | 100 | 99.0331
Ho | 67 | 67 | 6.0215 | - | 98.9308
Er | 68 | 68 | 6.101 | 99 | 98.8208
Tm | 69 | 69 | 6.184 | 91 | 98.694
Yb | 70 | 70 | 6.254 | 92 | 98.5766
Lu | 71 | 71 | 5.4259 | - | 99.4882
Hf | 72 | 72 | 6.65 | 96 | 97.6894
Ta | 73 | 73 | 7.89 | 95 | 90.0161
W | 74 | 74 | 7.98 | 94 | 88.9619
Re | 75 | 75 | 7.88 | 93 | 90.1275
Os | 76 | 76 | 8.7 | 78 | 76.6667
Ir | 77 | 77 | 8.967 | - | 70.2002
Pt | 78 | 78 | 9 | 62 | 69.3329
Au | 79 | 79 | 9.225 | 51 | 63.0726
Hg | 80 | 80 | 10.437 | 38 | 27.3871
Tl | 81 | 81 | 6.108 | 100 | 98.8106
Pb | 82 | 82 | 7.416 | 97 | 94.2117
Bi | 83 | 83 | 7.289 | 92 | 95.0168
Th | 90 | 90 | 6.3067 | 100 | 98.4815
U | 92 | 92 | 6.1941 | 100 | 98.6777

## Complicated
Element | Atomic number | First ionization potential | From figure to right | Element | Atomic number | First ionization potential | From figure to right | From model equation | Used to fit the model |  | Don't touch
|  |  | ICP-MS ionization efficiency, % |  |  |  | ICP-MS ionization efficiency, % | Model ionization efficiency, % | Squares of the residuals |  | Optimized variables
H | 1 | 13.598 | 0.1 | Cs | 55 | 3.894 | 100 | 99.9238 | 0.0058059 |  | 9.6546 | Sigmoid midpoint
He | 2 | 24.587 | 0 | Rb | 37 | 4.177 | 100 | 99.8916 | 0.011747 |  | -1.2462 | Steepness factor
Li | 3 | 5.392 | 100 | K | 19 | 4.341 | 100 | 99.8671 | 0.01767 | Test curve
Be | 4 | 9.322 | 75 | Na | 11 | 5.139 | 100 | 99.6415 | 0.12854 | First ionization potential | Model ionization efficiency, %
B | 5 | 8.298 | 58 | Li | 3 | 5.392 | 100 | 99.5092 | 0.24085 | 0 | 99.9994
C | 6 | 11.26 | 5 | Nd | 60 | 5.53 | 99 | 99.4177 | 0.17445 | 1 | 99.9979
N | 7 | 14.534 | 0.1 | Ce | 58 | 5.54 | 96 | 99.4104 | 11.6309 | 2 | 99.9928
O | 8 | 13.618 | 0.1 | Sm | 62 | 5.64 | 97 | 99.3327 | 5.4414 | 3 | 99.975
F | 9 | 17.422 | 0.0009 | Eu | 63 | 5.67 | 100 | 99.3074 | 0.47963 | 4 | 99.9131
Ne | 10 | 21.564 | 0.0006 | Sr | 38 | 5.695 | 96 | 99.2857 | 10.7957 | 5 | 99.6983
Na | 11 | 5.139 | 100 | In | 49 | 5.786 | 99 | 99.2006 | 0.040237 | 6 | 98.9588
Mg | 12 | 7.646 | 98 | Tb | 65 | 5.86 | 99 | 99.124 | 0.015386 | 7 | 96.4707
Al | 13 | 5.986 | 98 | Dy | 66 | 5.94 | 100 | 99.0331 | 0.9349 | 8 | 88.7148
Si | 14 | 8.151 | 85 | Al | 13 | 5.986 | 98 | 98.9766 | 0.95382 | 9 | 69.3329
P | 15 | 10.486 | 33 | Ga | 31 | 5.999 | 98 | 98.9601 | 0.92178 | 10 | 39.4012
S | 16 | 10.36 | 14 | U | 92 | 6.05 | 100 | 98.8926 | 1.2263 | 11 | 15.7535
Cl | 17 | 12.967 | 0.9 | Th | 90 | 6.08 | 100 | 98.8509 | 1.3204 | 12 | 5.1034
Ar | 18 | 15.759 | 0.04 | Er | 68 | 6.101 | 99 | 98.8208 | 0.032112 | 13 | 1.5231
K | 19 | 4.341 | 100 | Tl | 81 | 6.108 | 100 | 98.8106 | 1.4147 | 14 | 0.44283
Ca | 20 | 6.113 | 99 | Ca | 20 | 6.113 | 99 | 98.8032 | 0.038711 | 15 | 0.12776
Sc | 21 | 6.54 | 100 | Gd | 64 | 6.15 | 93 | 98.7475 | 33.0335 | 16 | 0.036776
Ti | 22 | 6.82 | 99 | Tm | 69 | 6.184 | 91 | 98.694 | 59.1973 | 17 | 0.010579
V | 23 | 6.74 | 99 | Yb | 70 | 6.254 | 92 | 98.5766 | 43.252 | 18 | 0.0030428
Cr | 24 | 6.766 | 98 | Y | 39 | 6.38 | 98 | 98.3386 | 0.11468 | 19 | 0.00087511
Mn | 25 | 7.435 | 95 | Sc | 21 | 6.54 | 100 | 97.9795 | 4.0826 | 20 | 0.00025168
Fe | 26 | 7.87 | 96 | Hf | 72 | 6.65 | 96 | 97.6894 | 2.8542 | 21 | 7.2382e-05
Co | 27 | 7.86 | 93 | V | 23 | 6.74 | 99 | 97.4223 | 2.4892 | 22 | 2.0817e-05
Ni | 28 | 7.635 | 91 | Cr | 24 | 6.766 | 98 | 97.3396 | 0.43607 | 23 | 5.9867e-06
Cu | 29 | 7.726 | 90 | Ti | 22 | 6.82 | 99 | 97.1597 | 3.3866 | 24 | 1.7217e-06
Zn | 30 | 9.394 | 75 | Zr | 40 | 6.84 | 99 | 97.0901 | 3.6476 | 25 | 4.9517e-07
Ga | 31 | 5.999 | 98 | Nb | 41 | 6.88 | 98 | 96.9459 | 1.1111
Ge | 32 | 7.899 | 90 | Mo | 42 | 7.099 | 98 | 96.0257 | 3.8979
As | 33 | 9.81 | 52 | Bi | 83 | 7.289 | 92 | 95.0168 | 9.1011
Se | 34 | 9.752 | 33 | Sn | 50 | 7.344 | 96 | 94.6821 | 1.7369
Br | 35 | 11.814 | 5 | Ru | 44 | 7.37 | 96 | 94.5165 | 2.2006
Kr | 36 | 13.999 | 0.6 | Pb | 82 | 7.416 | 97 | 94.2117 | 7.7743
Rb | 37 | 4.177 | 100 | Mn | 25 | 7.435 | 95 | 94.0813 | 0.84407
Sr | 38 | 5.695 | 96 | Rh | 45 | 7.46 | 94 | 93.9054 | 0.0089523
Y | 39 | 6.38 | 98 | Ag | 47 | 7.576 | 93 | 93.0236 | 0.00055755
Zr | 40 | 6.84 | 99 | Ni | 28 | 7.635 | 91 | 92.5311 | 2.3442
Nb | 41 | 6.88 | 98 | Mg | 12 | 7.646 | 98 | 92.4358 | 30.9603
Mo | 42 | 7.099 | 98 | Cu | 29 | 7.726 | 90 | 91.7086 | 2.9192
Tc | 43 | 7.28 |  | Co | 27 | 7.86 | 93 | 90.3471 | 7.0379
Ru | 44 | 7.37 | 96 | Fe | 26 | 7.87 | 96 | 90.2379 | 33.2022
Rh | 45 | 7.46 | 94 | Re | 75 | 7.88 | 93 | 90.1275 | 8.2511
Pd | 46 | 8.34 | 93 | Ta | 73 | 7.89 | 95 | 90.0161 | 24.8393
Ag | 47 | 7.576 | 93 | Ge | 32 | 7.899 | 90 | 89.9148 | 0.007252
Cd | 48 | 8.993 | 65 | W | 74 | 7.98 | 94 | 88.9619 | 25.3824
In | 49 | 5.786 | 99 | Si | 14 | 8.151 | 85 | 86.6892 | 2.8534
Sn | 50 | 7.344 | 96 | B | 5 | 8.298 | 58 | 84.4298 | 698.535
Sb | 51 | 8.641 | 78 | Pd | 46 | 8.34 | 93 | 83.7293 | 85.9462
Te | 52 | 9.009 | 66 | Sb | 51 | 8.641 | 78 | 77.9562 | 0.0019205
I | 53 | 10.451 | 29 | Os | 76 | 8.7 | 78 | 76.6667 | 1.7776
Xe | 54 | 12.13 | 8.5 | Cd | 48 | 8.993 | 65 | 69.518 | 20.4125
Cs | 55 | 3.894 | 100 | Pt | 78 | 9 | 62 | 69.3329 | 53.7708
Ba | 56 | 5.212 | 91 | Te | 52 | 9.009 | 66 | 69.0939 | 9.572
La | 57 | 5.58 | 90 | Au | 79 | 9.225 | 51 | 63.0726 | 145.7468
Ce | 58 | 5.54 | 96 | Be | 4 | 9.322 | 75 | 60.2154 | 218.5837
Pr | 59 | 5.46 | 90 | Zn | 30 | 9.394 | 75 | 58.0475 | 287.3882
Nd | 60 | 5.53 | 99 | Se | 34 | 9.752 | 33 | 46.9683 | 195.1121
Pm | 61 | 5.554 |  | As | 33 | 9.81 | 52 | 45.1726 | 46.6131
Sm | 62 | 5.64 | 97 | S | 16 | 10.36 | 14 | 29.3362 | 235.1991
Eu | 63 | 5.67 | 100 | Hg | 80 | 10.437 | 38 | 27.3871 | 112.6329
Gd | 64 | 6.15 | 93 | I | 53 | 10.451 | 29 | 27.0415 | 3.8355
Tb | 65 | 5.86 | 99 | P | 15 | 10.486 | 33 | 26.1897 | 46.3804
Dy | 66 | 5.94 | 100 | C | 6 | 11.26 | 5 | 11.913 | 47.7895
Ho | 67 | 6.018 |  | Br | 35 | 11.814 | 5 | 6.3501 | 1.8228
Er | 68 | 6.101 | 99 | Xe | 54 | 12.13 | 8.5 | 4.3735 | 17.0282
Tm | 69 | 6.184 | 91 | Cl | 17 | 12.967 | 0.9 | 1.586 | 0.4706
Yb | 70 | 6.254 | 92 | H | 1 | 13.598 | 0.1 | 0.72872 | 0.39529
Lu | 71 | 5.4259 |  | O | 8 | 13.618 | 0.1 | 0.71091 | 0.37321
Hf | 72 | 6.65 | 96 | Kr | 36 | 13.999 | 0.6 | 0.44338 | 0.024529
Ta | 73 | 7.89 | 95 | N | 7 | 14.534 | 0.1 | 0.22812 | 0.016415
W | 74 | 7.98 | 94 | Ar | 18 | 15.759 | 0.04 | 0.049653 | 9.3182e-05
Re | 75 | 7.88 | 93 | F | 9 | 17.422 | 0.0009 | 0.006253 | 2.8654e-05
Os | 76 | 8.7 | 78 | Ne | 10 | 21.564 | 0.0006 | 3.5841e-05 | 3.1828e-07
Ir | 77 | 9.1 |  | He | 2 | 24.587 | 0 | 8.2846e-07 | 6.8635e-13
Pt | 78 | 9 | 62 | [5 empty] | 2582.2205
Au | 79 | 9.225 | 51
Hg | 80 | 10.437 | 38 | Orphaned elements
Tl | 81 | 6.108 | 100 | Ba | 2 | 5.2117 | 0 | 99.6076
Pb | 82 | 7.416 | 97 | La | 2 | 5.5769 | 0 | 99.3828
Bi | 83 | 7.289 | 92 | Pr | 2 | 5.473 | 0 | 99.4574
Po | 84 | 8.42 |  | Ho | 2 | 6.0215 | 0 | 98.9308
At | 85 | 9.65 |  | Lu | 2 | 5.4259 | 0 | 99.4882
Rn | 86 | 10.748 |  | Ir | 2 | 8.967 | 0 | 70.2002
Fr | 87 | 3.83 |  | Th | 2 | 6.3067 | 0 | 98.4815
Ra | 88 | 5.279 |  | U | 2 | 6.1941 | 0 | 98.6777
Ac | 89 | 5.17
Th | 90 | 6.08 | 100
Pa | 91 | 5.89
U | 92 | 6.05 | 100
Np | 93 | 6.19
Pu | 94 | 6.06